## 10oct
Device Name | Port | Description | PID | VID | SN | Operational_State
ARG-SF-02 | FourHundredGigE0/0/0/10 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290888 | UP/UP
ARG-SF-02 | FourHundredGigE0/0/0/11 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290546 | UP/UP
ARG-SF-02 | FourHundredGigE0/0/0/12 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290943 | UP/UP
ARG-SF-02 | FourHundredGigE0/0/0/13 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25230367 | UP/UP
ARG-SF-02 | FourHundredGigE0/0/0/14 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290859 | UP/UP
ARG-SF-02 | HundredGigE0/0/0/15 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351538 | DOWN/DOWN
ARG-SF-02 | HundredGigE0/0/0/16 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23352060 | DOWN/DOWN
ARG-SF-02 | HundredGigE0/0/0/17 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2146S55N | DOWN/DOWN
ARG-SF-02 | HundredGigE0/0/0/19 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401ET-B | UP/UP
ARG-SF-02 | HundredGigE0/0/0/20 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V02 | OPM23410N21 | UP/UP
ARG-SF-02 | HundredGigE0/0/0/27 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC1M | V01 | FIW204202XC-B | DOWN/DOWN
ARG-SF-01 | HundredGigE0/0/0/0 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401AQ-B | UP/UP
ARG-SF-01 | HundredGigE0/0/0/9 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A09Q | UP/UP
ARG-SF-01 | FourHundredGigE0/0/0/10 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290871 | UP/UP
ARG-SF-01 | FourHundredGigE0/0/0/11 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25230459 | UP/UP
ARG-SF-01 | FourHundredGigE0/0/0/12 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25230452 | UP/UP
ARG-SF-01 | FourHundredGigE0/0/0/13 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290735 | UP/UP
ARG-SF-01 | FourHundredGigE0/0/0/14 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25230373 | UP/UP
ARG-SF-01 | HundredGigE0/0/0/16 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS211508J7 | DOWN/DOWN
ARG-SF-01 | HundredGigE0/0/0/17 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2111G1HT | UP/UP
ARG-SF-01 | HundredGigE0/0/0/19 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401Y8-B | UP/UP
ARG-SF-01 | HundredGigE0/0/0/20 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2146S2CD | UP/UP
ARG-SF-01 | HundredGigE0/0/0/25 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW21440216-A | UP/UP
ARG-SF-01 | HundredGigE0/0/0/27 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC1M | V01 | FIW204202XC-A | DOWN/DOWN
ARG-SF-01 | FortyGigE0/0/0/30 | Cisco QSFP+ 40G SR4 Pluggable Optics Module | QSFP-40G-SR4-S | V02 | AVP2026S08B | DOWN/DOWN
ARE-93180-1 | "Chassis" | "Nexus9000 C93180YC-FX3 Chassis" | N9K-C93180YC-FX3 | N/A | FDO25480L0P | DOWN
ARE-93180-1 | "Slot 1" | "48x10/25G + 6x40/100G Ethernet Module" | N9K-C93180YC-FX3 | N/A | FDO25480L0P | DOWN
ARE-93180-1 | "Slot 27" | "48x10/25G + 6x40/100G Ethernet Module" | N9K-C93180YC-FX3 | N/A | FDO25480L0P | DOWN
ARE-93180-1 | "Power Supply 1" | "Nexus9000 C93180YC-FX3 Chassis Power Supply" | NXA-PAC-650W-PI | N/A | LIT2538A532 | DOWN
ARE-93180-1 | "Power Supply 2" | "Nexus9000 C93180YC-FX3 Chassis Power Supply" | NXA-PAC-650W-PI | N/A | LIT2538A529 | DOWN
ARE-93180-1 | "Fan 1" | "Nexus9000 C93180YC-FX3 Chassis Fan Module" | NXA-FAN-35CFM-PI | N/A | N/A | DOWN
ARE-93180-1 | "Fan 2" | "Nexus9000 C93180YC-FX3 Chassis Fan Module" | NXA-FAN-35CFM-PI | N/A | N/A | DOWN
ARE-93180-1 | "Fan 3" | "Nexus9000 C93180YC-FX3 Chassis Fan Module" | NXA-FAN-35CFM-PI | N/A | N/A | DOWN
ARE-93180-1 | "Fan 4" | "Nexus9000 C93180YC-FX3 Chassis Fan Module" | NXA-FAN-35CFM-PI | N/A | N/A | DOWN
ARE-93180-1 | Ethernet1/4 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC15170B1G | UP
ARE-93180-1 | Ethernet1/5 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC1518078W | UP
ARE-93180-1 | Ethernet1/6 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC151800CK | UP
ARE-93180-1 | Ethernet1/7 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC15170AJ2 | UP
ARE-93180-1 | Ethernet1/8 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC15170BNP | UP
ARE-93180-1 | Ethernet1/9 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC15170B6H | UP
ARE-93180-1 | Ethernet1/10 | CISCO-OPLINK | SFP-10G-SR | N/A | OPM254117QM | UP
ARE-93180-1 | Ethernet1/11 | CISCO-SUMITOMO | SFP-10G-SR | N/A | SPC15170BHN | UP
ARE-93180-1 | Ethernet1/12 | CISCO-METHODE | GLC-T | N/A | MTC18350CNN | UP
ARE-93180-1 | Ethernet1/17 | CISCO-FINISAR | SFP-10G-SR | N/A | FNS154326VD | ADMIN_DOWN
ARE-93180-1 | Ethernet1/18 | CISCO-JDSU | SFP-10G-SR | N/A | JUR2020G07A | ADMIN_DOWN
ARE-93180-1 | Ethernet1/19 | CISCO-JDSU | SFP-10G-SR | N/A | JUR18480E0U | ADMIN_DOWN
ARE-93180-1 | Ethernet1/20 | CISCO-FINISAR | SFP-25G-SR-S | N/A | FNS231708UG | UP
ARE-93180-1 | Ethernet1/21 | CISCO-FINISAR | SFP-25G-SR-S | N/A | FNS231709JL | UP
ARE-93180-1 | Ethernet1/49/1 | CISCO | QSFP-40G-SR4 | N/A | FIS180600HH | UP
ARE-93180-1 | Ethernet1/49/2 | CISCO | QSFP-40G-SR4 | N/A | FIS180600HH | UP
ARE-93180-1 | Ethernet1/49/3 | CISCO | QSFP-40G-SR4 | N/A | FIS180600HH | UP
ARE-93180-1 | Ethernet1/49/4 | CISCO | QSFP-40G-SR4 | N/A | FIS180600HH | UP
ARE-93180-1 | Ethernet1/51 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2208N01Y | ADMIN_DOWN
ARE-93180-1 | Ethernet1/52 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2319N1W0 | ADMIN_DOWN
ARE-93180-1 | Ethernet1/53 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2051G03C | UP
ORC43 | FourHundredGigE0/0/0/9 | Cisco QSFPDD 400G DR4 Pluggable Optics Module | QDD-400G-DR4-S | V02 | INL26040C32 | DOWN/DOWN
ORC43 | FourHundredGigE0/0/0/22 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290829 | UP/UP
ORC43 | HundredGigE0/1/0/0 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | FIW250302NY | UP/UP
ORC43 | HundredGigE0/1/0/1 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INP2831004H | UP/UP
ORC43 | HundredGigE0/1/0/11 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351384 | UP/UP
ORC43 | HundredGigE0/1/0/32 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2212S0PN | DOWN/DOWN
ORC43 | HundredGigE0/1/0/34 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC3M | V03 | INL26100B7K-B | DOWN/DOWN
ORC43 | HundredGigE0/1/0/35 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2126G11J | DOWN/DOWN
ORC44 | FourHundredGigE0/0/0/1 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC26250480 | DOWN/DOWN
ORC44 | FourHundredGigE0/0/0/22 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290875 | UP/UP
ORC44 | HundredGigE0/1/0/0 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V02 | FTM2401N1KD | UP/UP
ORC44 | HundredGigE0/1/0/1 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V03 | FTF2512N5U9 | UP/UP
ORC44 | HundredGigE0/1/0/11 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2124G292 | UP/UP
ORC44 | HundredGigE0/1/0/12 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351345 | UP/UP
ORC44 | HundredGigE0/1/0/13 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351405 | DOWN/DOWN
ORC44 | HundredGigE0/1/0/14 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351351 | UP/UP
ORC44 | HundredGigE0/1/0/20 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2611A2U9 | DOWN/DOWN
ORC44 | HundredGigE0/1/0/21 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A0W9 | DOWN/DOWN
ORC44 | HundredGigE0/1/0/32 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW21440225-A | DOWN/DOWN
ORC44 | HundredGigE0/1/0/34 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC3M | V03 | INL26100B7K-A | DOWN/DOWN
ORC44 | HundredGigE0/1/0/35 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2125G398 | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/0 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2229S54R | UP/UP
ARG55a1-1 | HundredGigE0/0/0/2 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V03 | FTF2512N5UU | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/3 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V03 | FTF2512N9EN | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/5 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V02 | FTF2416N3SJ | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/6 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2140S38A | UP/UP
ARG55a1-1 | HundredGigE0/0/0/7 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2225S1TG | UP/UP
ARG55a1-1 | HundredGigE0/0/0/9 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V04 | DPZ2648B093-B | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/10 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A0DF | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/11 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A04Q | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/12 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2217N50F | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/13 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW21440215-B | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/14 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401BT-A | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/15 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2208N1NT | UP/UP
ARG55a1-1 | HundredGigE0/0/0/16 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2210N0DW | UP/UP
ARG55a1-1 | HundredGigE0/0/0/17 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2210N1LB | UP/UP
ARG55a1-1 | HundredGigE0/0/0/18 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2319N1XA | UP/UP
ARG55a1-1 | FortyGigE0/0/0/24 | Cisco QSFP+ 40G SR4 Pluggable Optics Module | QSFP-40G-SR4 | V02 | AVP1951S0CQ | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/26 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2319N1Z6 | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/30 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A03Q | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/31 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2627A03J | DOWN/DOWN
ARG55a1-1 | HundredGigE0/0/0/32 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2212S0PG | DOWN/DOWN
ORC42 | HundredGigE0/0/0/1 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2111G1EC | UP/UP
ORC42 | HundredGigE0/0/0/2 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2241N0X7 | DOWN/DOWN
ORC42 | HundredGigE0/0/0/4 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2206N11M | DOWN/DOWN
ORC42 | HundredGigE0/0/0/6 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS20431H2J | DOWN/DOWN
ORC42 | HundredGigE0/0/0/9 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2319N035 | DOWN/DOWN
ORC42 | HundredGigE0/0/0/11 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2030G0YL | UP/UP
ORC42 | HundredGigE0/0/0/12 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351534 | UP/UP
ORC42 | HundredGigE0/0/0/15 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2134S0Z4 | UP/UP
ORC42 | HundredGigE0/0/0/16 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2110G17E | UP/UP
ORC42 | HundredGigE0/0/0/17 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351353 | UP/UP
ORC42 | HundredGigE0/0/0/18 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | FIW250302MC | UP/UP
ORC42 | HundredGigE0/0/0/34 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351532 | DOWN/DOWN
ORC42 | HundredGigE0/0/0/35 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351802 | DOWN/DOWN
ORC42 | HundredGigE0/1/0/1 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23352057 | DOWN/DOWN
ORC42 | HundredGigE0/1/0/2 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS20350J6N | DOWN/DOWN
ORC42 | HundredGigE0/1/0/3 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS2132074P | DOWN/DOWN
ORC42 | HundredGigE0/1/0/4 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS20440RYS | DOWN/DOWN
ORC42 | HundredGigE0/1/0/5 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS21150NJH | DOWN/DOWN
ORC42 | HundredGigE0/1/0/6 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS21370Z6J | DOWN/DOWN
ORC42 | HundredGigE0/1/0/7 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS211512JN | DOWN/DOWN
ORC42 | HundredGigE0/1/0/8 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2129G2NN | UP/UP
ORC42 | HundredGigE0/1/0/10 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2112G0CR | UP/UP
ORC42 | FortyGigE0/1/0/25 | Cisco QSFP+ 40G SR4 Pluggable Optics Module | QSFP-40G-SR4 | V02 | FIS1811029V | DOWN/DOWN
ORC42 | HundredGigE0/1/0/28 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW230400GP-B | UP/UP
ORC42 | HundredGigE0/1/0/29 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401BZ-A | UP/UP
ORC42 | HundredGigE0/1/0/30 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2129G2BR | DOWN/DOWN
ORC42 | HundredGigE0/1/0/34 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351352 | DOWN/DOWN
ORC42 | HundredGigE0/1/0/35 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351343 | DOWN/DOWN
ORC42 | FourHundredGigE0/2/0/0 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | INL24322318 | UP/UP
ORC42 | FourHundredGigE0/2/0/10 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290892 | UP/UP
ORC42 | FourHundredGigE0/2/0/11 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290949 | UP/UP
ORC42 | FourHundredGigE0/2/0/12 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290857 | UP/UP
ORC42 | FourHundredGigE0/3/0/2 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | INL24322379 | UP/UP
ARG55a1-2 | HundredGigE0/0/0/0 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | AVF2302S1JG | UP/UP
ARG55a1-2 | HundredGigE0/0/0/2 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V03 | FTF2512N9F5 | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/3 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V03 | FTF2512N9FD | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/5 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2208N1NS | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/6 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2210N1LD | UP/UP
ARG55a1-2 | HundredGigE0/0/0/7 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V03 | FTF2717N2CE | UP/UP
ARG55a1-2 | HundredGigE0/0/0/9 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A0MB | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/10 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW230400GP-A | UP/UP
ARG55a1-2 | HundredGigE0/0/0/11 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401BZ-B | UP/UP
ARG55a1-2 | HundredGigE0/0/0/13 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW2144022U-A | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/14 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW21440194-B | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/15 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2319N03Y | UP/UP
ARG55a1-2 | HundredGigE0/0/0/16 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2210N1KF | UP/UP
ARG55a1-2 | HundredGigE0/0/0/17 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2210N04Z | UP/UP
ARG55a1-2 | HundredGigE0/0/0/18 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2245N2CR | UP/UP
ARG55a1-2 | HundredGigE0/0/0/25 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2217N3BG | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/26 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2245N2BM | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/27 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS213700WX | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/28 | Cisco QSFP28 100G LR4 Pluggable Optics Module | QSFP-100G-LR4-S | V01 | FNS21350T21 | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/30 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2319N1EX | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/31 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2307N0J4 | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/32 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW21440225-B | DOWN/DOWN
ARG55a1-2 | HundredGigE0/0/0/34 | Cisco QSFP28 100G SR BD Pluggable Optics Module | QSFP-40/100-SRBD | V01 | FOF2210N065 | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/0 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A0D5 | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/1 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A05N | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/2 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2047G048 | UP/UP
DRC-8201-1 | HundredGigE0/0/0/3 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351870 | UP/UP
DRC-8201-1 | FourHundredGigE0/0/0/4 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | INL24304247 | DOWN/DOWN
DRC-8201-1 | FourHundredGigE0/0/0/5 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | INL26200NZC | DOWN/DOWN
DRC-8201-1 | FourHundredGigE0/0/0/6 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25430971 | DOWN/DOWN
DRC-8201-1 | FourHundredGigE0/0/0/7 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25431138 | DOWN/DOWN
DRC-8201-1 | FourHundredGigE0/0/0/10 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290836 | UP/UP
DRC-8201-1 | HundredGigE0/0/0/11 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401AF-A | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/12 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401CL-A | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/15 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | AVF2242S1ZM | UP/UP
DRC-8201-1 | FourHundredGigE0/0/0/18 | Cisco QSFPDD 400G DR4 Pluggable Optics Module | QDD-400G-DR4-S | V01 | INL24332729 | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/21 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23352061 | UP/UP
DRC-8201-1 | FortyGigE0/0/0/26 | Cisco QSFP+ 40G SR4 Pluggable Optics Module | QSFP-40G-SR4 | V02 | AVP1747S1F0 | DOWN/DOWN
DRC-8201-1 | HundredGigE0/0/0/29 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2627A038 | UP/UP
DRC-8201-1 | HundredGigE0/0/0/30 | Cisco QSFP28 100G FR Pluggable Optics Module | QSFP-100G-FR-S | V02 | FBN2628A03L | UP/UP
DRC-8201-1 | HundredGigE0/0/0/31 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC7M | V03 | INL24011773-B | UP/UP
DRC-8201-2 | HundredGigE0/0/0/0 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC7M | V03 | INL23520104-A | UP/UP
DRC-8201-2 | HundredGigE0/0/0/1 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC7M | V04 | INL26400EMU-B | UP/UP
DRC-8201-2 | HundredGigE0/0/0/3 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL2539073U | UP/UP
DRC-8201-2 | FourHundredGigE0/0/0/10 | Cisco QSFPDD 400G FR4 Pluggable Optics Module | QDD-400G-FR4-S | V01 | CGC25290549 | UP/UP
DRC-8201-2 | HundredGigE0/0/0/14 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW214401ZJ-B | DOWN/DOWN
DRC-8201-2 | HundredGigE0/0/0/15 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2009G027 | UP/UP
DRC-8201-2 | FourHundredGigE0/0/0/16 | Cisco QSFPDD 400G DR4 Pluggable Optics Module | QDD-400G-DR4-S | V01 | INL24332687 | DOWN/DOWN
DRC-8201-2 | HundredGigE0/0/0/20 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2229S25G | UP/UP
DRC-8201-2 | HundredGigE0/0/0/22 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC7M | V04 | INL264111JW-A | DOWN/DOWN
DRC-8201-2 | FortyGigE0/0/0/26 | Cisco QSFP+ 40G SR4 Pluggable Optics Module | QSFP-40G-SR4-S | V02 | AVP2224S50P | DOWN/DOWN
DRC-8201-2 | HundredGigE0/0/0/28 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL25400302 | UP/UP
DRC-8201-2 | HundredGigE0/0/0/29 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2129G2NL | UP/UP
DRC-8201-2 | HundredGigE0/0/0/30 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC7M | V03 | INL23520088-A | DOWN/DOWN
DRC-8201-2 | HundredGigE0/0/0/31 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC7M | V03 | INL23520226-A | DOWN/DOWN
N3264-1-CRE-DSC | "Chassis" | "Nexus3000 C3264C Chassis" | N3K-C3264C-E | N/A | FOC233195NS | DOWN
N3264-1-CRE-DSC | "Slot 1" | "64x100G QSFP28 + 2x10G SFP+ Ethernet Module" | N3K-C3264C-E | N/A | FOC233195NS | DOWN
N3264-1-CRE-DSC | "Power Supply 1" | "Nexus3000 C3264C Chassis Power Supply" | NXA-PAC-1200W-PI | N/A | LIT21484X7J | DOWN
N3264-1-CRE-DSC | "Power Supply 2" | "Nexus3000 C3264C Chassis Power Supply" | NXA-PAC-1200W-PI | N/A | LIT22143NTY | DOWN
N3264-1-CRE-DSC | "Fan 1" | "Nexus3000 C3264C Chassis Fan Module" | NXA-FAN-160CFM-PI | N/A | N/A | DOWN
N3264-1-CRE-DSC | "Fan 2" | "Nexus3000 C3264C Chassis Fan Module" | NXA-FAN-160CFM-PI | N/A | N/A | DOWN
N3264-1-CRE-DSC | "Fan 3" | "Nexus3000 C3264C Chassis Fan Module" | NXA-FAN-160CFM-PI | N/A | N/A | DOWN
N3264-1-CRE-DSC | Ethernet1/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2042G0S5 | DOWN
N3264-1-CRE-DSC | Ethernet1/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2240S109 | DOWN
N3264-1-CRE-DSC | Ethernet1/3 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2221S1S3 | DOWN
N3264-1-CRE-DSC | Ethernet1/4 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G0YJ | DOWN
N3264-1-CRE-DSC | Ethernet1/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2142S4BC | DOWN
N3264-1-CRE-DSC | Ethernet1/6 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2225S1TM | DOWN
N3264-1-CRE-DSC | Ethernet1/7 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2221S1SS | DOWN
N3264-1-CRE-DSC | Ethernet1/8 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G08K | DOWN
N3264-1-CRE-DSC | Ethernet1/9 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351537 | UP
N3264-1-CRE-DSC | Ethernet1/10 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2141S4C6 | UP
N3264-1-CRE-DSC | Ethernet1/11 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2124G1SA | UP
N3264-1-CRE-DSC | Ethernet1/13 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2218S0R1 | DOWN
N3264-1-CRE-DSC | Ethernet1/15 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2220S169 | DOWN
N3264-1-CRE-DSC | Ethernet1/22 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2229S27H | DOWN
N3264-1-CRE-DSC | Ethernet1/23 | CISCO-FINISAR | QSFP-100G-AOC5M | N/A | FIW2023052S-A | DOWN
N3264-1-CRE-DSC | Ethernet1/26 | CISCO-AVAGO | SFP-10G-SR | N/A | AVD1839AFUM | UP
N3264-1-CRE-DSC | Ethernet1/40 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2212S0YV | UP
N3264-1-CRE-DSC | Ethernet1/41 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR2205004S | UP
N3264-1-CRE-DSC | Ethernet1/42 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR22050038 | UP
N3264-1-CRE-DSC | Ethernet1/43 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR214904R1 | UP
N3264-1-CRE-DSC | Ethernet1/45 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2145S2CG | DOWN
N3264-1-CRE-DSC | Ethernet1/50 | CISCO-INNOLIGHT | QSFP-100G-LR4-S | N/A | INL26070CYB | ADMIN_DOWN
N3264-1-CRE-DSC | Ethernet1/60 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0MS | UP
N3264-1-CRE-DSC | Ethernet1/61 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A02K | UP
N3264-1-CRE-DSC | Ethernet1/62 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2444A152 | DOWN
N3264-1-CRE-DSC | Ethernet1/63 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2445A019 | DOWN
N3264-1-CRE-DSC | Ethernet1/65 | CISCO-AVAGO | SFP-10G-SR | N/A | AVD2025A3BS | UP
N3264-2-CRE-DSC | "Chassis" | "Nexus3000 C3264C Chassis" | N3K-C3264C-E | N/A | FOC23332MLU | DOWN
N3264-2-CRE-DSC | "Slot 1" | "64x100G QSFP28 + 2x10G SFP+ Ethernet Module" | N3K-C3264C-E | N/A | FOC23332MLU | DOWN
N3264-2-CRE-DSC | "Power Supply 1" | "Nexus3000 C3264C Chassis Power Supply" | NXA-PAC-1200W-PI | N/A | LIT22143PA7 | DOWN
N3264-2-CRE-DSC | "Power Supply 2" | "Nexus3000 C3264C Chassis Power Supply" | NXA-PAC-1200W-PI | N/A | LIT22143P9Z | DOWN
N3264-2-CRE-DSC | "Fan 1" | "Nexus3000 C3264C Chassis Fan Module" | NXA-FAN-160CFM-PI | N/A | N/A | DOWN
N3264-2-CRE-DSC | "Fan 2" | "Nexus3000 C3264C Chassis Fan Module" | NXA-FAN-160CFM-PI | N/A | N/A | DOWN
N3264-2-CRE-DSC | "Fan 3" | "Nexus3000 C3264C Chassis Fan Module" | NXA-FAN-160CFM-PI | N/A | N/A | DOWN
N3264-2-CRE-DSC | Ethernet1/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2109G058 | DOWN
N3264-2-CRE-DSC | Ethernet1/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2111G1F8 | DOWN
N3264-2-CRE-DSC | Ethernet1/3 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2014G05E | DOWN
N3264-2-CRE-DSC | Ethernet1/4 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2225S1TN | DOWN
N3264-2-CRE-DSC | Ethernet1/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2111G1FE | DOWN
N3264-2-CRE-DSC | Ethernet1/6 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2125G1MR | DOWN
N3264-2-CRE-DSC | Ethernet1/7 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G021 | DOWN
N3264-2-CRE-DSC | Ethernet1/8 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2212S14F | DOWN
N3264-2-CRE-DSC | Ethernet1/9 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351529 | UP
N3264-2-CRE-DSC | Ethernet1/11 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2125G0WM | UP
N3264-2-CRE-DSC | Ethernet1/13 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2230S0WD | DOWN
N3264-2-CRE-DSC | Ethernet1/14 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2125G2LR | DOWN
N3264-2-CRE-DSC | Ethernet1/15 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2229S2ER | DOWN
N3264-2-CRE-DSC | Ethernet1/22 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2111G182 | DOWN
N3264-2-CRE-DSC | Ethernet1/23 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2229S3JU | DOWN
N3264-2-CRE-DSC | Ethernet1/26 | CISCO-AVAGO | SFP-10G-SR | N/A | AVD23089UCG | UP
N3264-2-CRE-DSC | Ethernet1/40 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR220300CB | UP
N3264-2-CRE-DSC | Ethernet1/41 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR2205002F | UP
N3264-2-CRE-DSC | Ethernet1/42 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR220300AT | UP
N3264-2-CRE-DSC | Ethernet1/43 | CISCO-LUXTERA | QSFP-100G-PSM4-S | N/A | CVR22050041 | DOWN
N3264-2-CRE-DSC | Ethernet1/45 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2221S1TA | ADMIN_DOWN
N3264-2-CRE-DSC | Ethernet1/60 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0N1 | UP
N3264-2-CRE-DSC | Ethernet1/61 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A03U | UP
N3264-2-CRE-DSC | Ethernet1/62 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2611A3KJ | UP
N3264-2-CRE-DSC | Ethernet1/63 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2444AB21 | DOWN
N3264-2-CRE-DSC | Ethernet1/65 | CISCO-FINISAR | SFP-10G-SR | N/A | FNS1947215W | UP
S01SVS00 | "Chassis" | "Nexus9000 C9336C-FX2 Chassis" | N9K-C9336C-FX2 | N/A | FDO25510QVQ | DOWN
S01SVS00 | "Slot 1" | "36x40/100G QSFP28 Ethernet Module" | N9K-C9336C-FX2 | N/A | FDO25510QVQ | DOWN
S01SVS00 | "Power Supply 1" | "Nexus9000 C9336C-FX2 Chassis Power Supply" | NXA-PAC-1100W-PE2 | N/A | ART2542F00R | DOWN
S01SVS00 | "Power Supply 2" | "Nexus9000 C9336C-FX2 Chassis Power Supply" | NXA-PAC-1100W-PE2 | N/A | ART2542F0CV | DOWN
S01SVS00 | "Fan 1" | "Nexus9000 C9336C-FX2 Chassis Fan Module" | NXA-FAN-65CFM-PE | N/A | N/A | DOWN
S01SVS00 | "Fan 2" | "Nexus9000 C9336C-FX2 Chassis Fan Module" | NXA-FAN-65CFM-PE | N/A | N/A | DOWN
S01SVS00 | "Fan 3" | "Nexus9000 C9336C-FX2 Chassis Fan Module" | NXA-FAN-65CFM-PE | N/A | N/A | DOWN
S01SVS00 | Ethernet1/2 | CISCO-AVAGO | QSFP-100G-SR4 | N/A | AVF2217S14F | UP
S01SVS00 | Ethernet1/3 | CISCO-FINISAR | QSFP-100G-AOC1M | N/A | FIW224401BS-A | ADMIN_DOWN
S01SVS00 | Ethernet1/16 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401EU-A | UP
S01SVS01 | "Chassis" | "Nexus9000 C9336C-FX2 Chassis" | N9K-C9336C-FX2 | N/A | FDO25510JD1 | DOWN
S01SVS01 | "Slot 1" | "36x40/100G QSFP28 Ethernet Module" | N9K-C9336C-FX2 | N/A | FDO25510JD1 | DOWN
S01SVS01 | "Power Supply 1" | "Nexus9000 C9336C-FX2 Chassis Power Supply" | NXA-PAC-1100W-PE2 | N/A | ART2542F008 | DOWN
S01SVS01 | "Power Supply 2" | "Nexus9000 C9336C-FX2 Chassis Power Supply" | NXA-PAC-1100W-PE2 | N/A | ART2542F0E4 | DOWN
S01SVS01 | "Fan 1" | "Nexus9000 C9336C-FX2 Chassis Fan Module" | NXA-FAN-65CFM-PE | N/A | N/A | DOWN
S01SVS01 | "Fan 2" | "Nexus9000 C9336C-FX2 Chassis Fan Module" | NXA-FAN-65CFM-PE | N/A | N/A | DOWN
S01SVS01 | "Fan 3" | "Nexus9000 C9336C-FX2 Chassis Fan Module" | NXA-FAN-65CFM-PE | N/A | N/A | DOWN
S01SVS01 | Ethernet1/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G0YW | UP
S01SVS01 | Ethernet1/3 | CISCO-FINISAR | QSFP-100G-AOC1M | N/A | FIW224401BS-B | DOWN
S01SVS01 | Ethernet1/16 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2013G0KS | UP
DRE-9364-1 | "Chassis" | "Nexus9000 C9364D-GX2A Chassis" | N9K-C9364D-GX2A | N/A | FDO24430U8N | DOWN
DRE-9364-1 | "Slot 1" | "64x400G QSFP-DD + 2x10G SFP+ Ethernet Module" | N9K-C9364D-GX2A | N/A | FDO24430U8N | DOWN
DRE-9364-1 | "Slot 27" | "64x400G QSFP-DD + 2x10G SFP+ Ethernet Module" | N9K-C9364D-GX2A | N/A | FDO24430U8N | DOWN
DRE-9364-1 | "Power Supply 1" | "Nexus9000 C9364D-GX2A Chassis Power Supply" | NXA-PAC-3KW-PI | N/A | DTM244101SY | DOWN
DRE-9364-1 | "Power Supply 2" | "Nexus9000 C9364D-GX2A Chassis Power Supply" | NXA-PAC-3KW-PI | N/A | DTM244101SZ | DOWN
DRE-9364-1 | "Fan 1" | "Nexus9000 C9364D-GX2A Chassis Fan Module" | NXA-FAN-160CFM2PI | N/A | N/A | DOWN
DRE-9364-1 | "Fan 2" | "Nexus9000 C9364D-GX2A Chassis Fan Module" | NXA-FAN-160CFM2PI | N/A | N/A | DOWN
DRE-9364-1 | "Fan 3" | "Nexus9000 C9364D-GX2A Chassis Fan Module" | NXA-FAN-160CFM2PI | N/A | N/A | DOWN
DRE-9364-1 | "Fan 4" | "Nexus9000 C9364D-GX2A Chassis Fan Module" | NXA-FAN-160CFM2PI | N/A | N/A | DOWN
DRE-9364-1 | Ethernet1/1/1 | CISCO | QSFP-40G-SR4 | N/A | FIS181101RE | UP
DRE-9364-1 | Ethernet1/1/2 | CISCO | QSFP-40G-SR4 | N/A | FIS181101RE | UP
DRE-9364-1 | Ethernet1/1/3 | CISCO | QSFP-40G-SR4 | N/A | FIS181101RE | DOWN
DRE-9364-1 | Ethernet1/1/4 | CISCO | QSFP-40G-SR4 | N/A | FIS181101RE | DOWN
DRE-9364-1 | Ethernet1/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2125G184 | UP
DRE-9364-1 | Ethernet1/6 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351380 | UP
DRE-9364-1 | Ethernet1/9 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0CP | DOWN
DRE-9364-1 | Ethernet1/10 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0B5 | DOWN
DRE-9364-1 | Ethernet1/13 | CISCO | QSFP-40G-SR4 | N/A | AVP1648S1FF | UP
DRE-9364-1 | Ethernet1/14 | CISCO | QSFP-40G-SR4 | N/A | FIS190901CX | UP
DRE-9364-1 | Ethernet1/15 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2611A2V7 | UP
DRE-9364-1 | Ethernet1/16 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2611A2PM | UP
DRE-9364-1 | Ethernet1/21 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2212S0R7 | UP
DRE-9364-1 | Ethernet1/22 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL24154734 | UP
DRE-9364-1 | Ethernet1/23 | CISCO-FINISAR | SFP-10G-SR | N/A | FNS15491WNV | UP
DRE-9364-1 | Ethernet1/24/1 | CISCO | QSFP-40G-SR4 | N/A | AVP1810S2UG | UP
DRE-9364-1 | Ethernet1/24/2 | CISCO | QSFP-40G-SR4 | N/A | AVP1810S2UG | UP
DRE-9364-1 | Ethernet1/24/3 | CISCO | QSFP-40G-SR4 | N/A | AVP1810S2UG | UP
DRE-9364-1 | Ethernet1/24/4 | CISCO | QSFP-40G-SR4 | N/A | AVP1810S2UG | UP
DRE-9364-1 | Ethernet1/27 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INP282801FV | DOWN
DRE-9364-1 | Ethernet1/28/1 | CISCO | QSFP-40G-SR4 | N/A | AVP1706S055 | UP
DRE-9364-1 | Ethernet1/28/2 | CISCO | QSFP-40G-SR4 | N/A | AVP1706S055 | UP
DRE-9364-1 | Ethernet1/28/3 | CISCO | QSFP-40G-SR4 | N/A | AVP1706S055 | UP
DRE-9364-1 | Ethernet1/28/4 | CISCO | QSFP-40G-SR4 | N/A | AVP1706S055 | UP
DRE-9364-1 | Ethernet1/29 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351393 | UP
DRE-9364-1 | Ethernet1/30 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351407 | UP
DRE-9364-1 | Ethernet1/31 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351386 | UP
DRE-9364-1 | Ethernet1/32 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2221S1T9 | UP
DRE-9364-1 | Ethernet1/37 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Z7-B | DOWN
DRE-9364-1 | Ethernet1/38 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401EQ-A | DOWN
DRE-9364-1 | Ethernet1/40 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.100 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.101 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.102 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.103 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.104 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.105 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.106 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.107 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.108 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.109 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.110 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.111 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.112 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.113 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.114 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.115 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.116 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.117 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.118 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.119 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.120 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.121 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.122 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.123 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.124 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.125 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.126 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.127 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.128 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.129 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.130 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.131 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.132 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.133 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.134 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.135 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.136 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.137 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.138 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.139 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.140 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.141 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.142 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.143 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.144 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.145 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.146 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.147 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.148 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.149 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.150 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/40.200 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401Y2-B | UP
DRE-9364-1 | Ethernet1/41 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2319N3Z3 | DOWN
DRE-9364-1 | Ethernet1/42 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2306N114 | DOWN
DRE-9364-1 | Ethernet1/44 | CISCO-CIG | QDD-400G-FR4-S | N/A | CGC26250614 | DOWN
DRE-9364-1 | Ethernet1/45 | CISCO-FINISAR | QSFP-40G-SR4 | N/A | FIW231302HJ | DOWN
DRE-9364-1 | Ethernet1/46 | CISCO | QSFP-40G-SR4 | N/A | AVP1731S0FN | DOWN
DRE-9364-1 | Ethernet1/48/1 | CISCO | QSFP-40G-SR4 | N/A | FIW192901TE | ADMIN_DOWN
DRE-9364-1 | Ethernet1/48/2 | CISCO | QSFP-40G-SR4 | N/A | FIW192901TE | UP
DRE-9364-1 | Ethernet1/48/3 | CISCO | QSFP-40G-SR4 | N/A | FIW192901TE | ADMIN_DOWN
DRE-9364-1 | Ethernet1/48/4 | CISCO | QSFP-40G-SR4 | N/A | FIW192901TE | ADMIN_DOWN
DRE-9364-1 | Ethernet1/52 | CISCO-FINISAR | QSFP-100G-AOC2M | N/A | FIW204203GA-B | UP
DRE-9364-1 | Ethernet1/54 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401DD-B | DOWN
DRE-9364-1 | Ethernet1/54.400 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401DD-B | DOWN
DRE-9364-1 | Ethernet1/54.600 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401DD-B | DOWN
DRE-9364-1 | Ethernet1/63 | CISCO-AVAGO | SFP-10G-SR | N/A | AGA16234B9Z | UP
DRE-9364-1 | Ethernet1/64 | CISCO-AVAGO | SFP-10G-SR | N/A | AGA16384836 | UP
DRE-9364-1 | Ethernet1/65 | CISCO-JDSU | SFP-10G-SR | N/A | JUR1925G6ED | UP
DRE-9364-1 | Ethernet1/66 | CISCO-JDSU | SFP-10G-SR | N/A | JUR1929GUQV | UP
OSC-3408-1 | "Chassis" | "Nexus3000 C3408-S Chassis" | N3K-C3408-S | N/A | FOC24128NBW | DOWN
OSC-3408-1 | "Slot 1" | "Supervisor" | N3K-C3408-S | N/A | FOC24128NBW | DOWN
OSC-3408-1 | "LEM 1" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23515VYW | DOWN
OSC-3408-1 | "LEM 2" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23335ADS | DOWN
OSC-3408-1 | "LEM 3" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23311MNU | DOWN
OSC-3408-1 | "LEM 4" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23335AF3 | DOWN
OSC-3408-1 | "Power Supply 1" | "Nexus3000 C3408-S Chassis Power Supply" | NXA-PAC-2KW-PI | N/A | POG2424JA1Q | DOWN
OSC-3408-1 | "Power Supply 2" | "Nexus3000 C3408-S Chassis Power Supply" | NXA-PAC-2KW-PI | N/A | POG2424JA05 | DOWN
OSC-3408-1 | "Fan 1" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
OSC-3408-1 | "Fan 2" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
OSC-3408-1 | "Fan 3" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
OSC-3408-1 | Ethernet1/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2220S0Z6 | UP
OSC-3408-1 | Ethernet1/2 | CISCO-FINISAR | QSFP-100G-AOC5M | N/A | FIW2023052S-B | UP
OSC-3408-1 | Ethernet1/3/1 | CISCO-FINISAR | QSFP-40G-SR4 | N/A | FIW201902RR | UP
OSC-3408-1 | Ethernet1/3/2 | CISCO-FINISAR | QSFP-40G-SR4 | N/A | FIW201902RR | DOWN
OSC-3408-1 | Ethernet1/3/3 | CISCO-FINISAR | QSFP-40G-SR4 | N/A | FIW201902RR | UP
OSC-3408-1 | Ethernet1/3/4 | CISCO-FINISAR | QSFP-40G-SR4 | N/A | FIW201902RR | DOWN
OSC-3408-1 | Ethernet1/5/1 | CISCO | QSFP-40G-SR4 | N/A | FIS174201QY | DOWN
OSC-3408-1 | Ethernet1/5/2 | CISCO | QSFP-40G-SR4 | N/A | FIS174201QY | DOWN
OSC-3408-1 | Ethernet1/5/3 | CISCO | QSFP-40G-SR4 | N/A | FIS174201QY | DOWN
OSC-3408-1 | Ethernet1/5/4 | CISCO | QSFP-40G-SR4 | N/A | FIS174201QY | DOWN
OSC-3408-1 | Ethernet1/9 | CISCO | QSFP-40G-SR4 | N/A | FIS173701KT | DOWN
OSC-3408-1 | Ethernet1/10 | CISCO | QSFP-40G-SR4 | N/A | FIS174601EB | DOWN
OSC-3408-1 | Ethernet2/1 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2217N515 | ADMIN_DOWN
OSC-3408-1 | Ethernet2/2 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2210N062 | ADMIN_DOWN
OSC-3408-1 | Ethernet2/3 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2307N2PH | DOWN
OSC-3408-1 | Ethernet2/4 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401A7-B | DOWN
OSC-3408-1 | Ethernet2/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2219S05G | DOWN
OSC-3408-1 | Ethernet2/14 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2237S08P | DOWN
OSC-3408-1 | Ethernet2/15 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2108G05J | DOWN
OSC-3408-1 | Ethernet2/16 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2121G2J5 | DOWN
OSC-3408-1 | Ethernet3/2 | CISCO-INNOLIGHT | QSFP-100G-AOC7M | N/A | INL24011773-A | UP
OSC-3408-1 | Ethernet3/4 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0R6 | DOWN
OSC-3408-1 | Ethernet3/9 | CISCO-DELTA | QSFP-100G-AOC15M | N/A | DTS2415A946-A | DOWN
OSC-3408-1 | Ethernet3/11 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FTF2416N3S1 | DOWN
OSC-3408-1 | Ethernet3/12 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2252N2XT | DOWN
OSC-3408-1 | Ethernet3/13 | CISCO-INNOLIGHT | QSFP-100G-SR4-S | N/A | INL23351355 | DOWN
OSC-3408-1 | Ethernet4/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2NF | DOWN
OSC-3408-1 | Ethernet4/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2C2 | DOWN
OSC-3408-1 | Ethernet4/6 | CISCO-FINISAR | QSFP-100G-AOC5M | N/A | FIW2138037D-B | DOWN
OSC-3408-1 | Ethernet4/7 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2NE | DOWN
OSC-3408-1 | Ethernet4/8 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2CE | DOWN
OSC-3408-1 | Ethernet4/10 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FTF2512N9F9 | DOWN
OSC-3408-1 | Ethernet4/11 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FTF2512N5TR | DOWN
OSC-3408-2 | "Chassis" | "Nexus3000 C3408-S Chassis" | N3K-C3408-S | N/A | FOC2350547S | DOWN
OSC-3408-2 | "Slot 1" | "Supervisor" | N3K-C3408-S | N/A | FOC2350547S | DOWN
OSC-3408-2 | "LEM 1" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23335AEH | DOWN
OSC-3408-2 | "LEM 2" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC235054CN | DOWN
OSC-3408-2 | "LEM 3" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23345DYM | DOWN
OSC-3408-2 | "LEM 4" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23515VZ1 | DOWN
OSC-3408-2 | "Power Supply 1" | "Nexus3000 C3408-S Chassis Power Supply" | NXA-PAC-2KW-PI | N/A | POG2410JA2X | DOWN
OSC-3408-2 | "Power Supply 2" | "Nexus3000 C3408-S Chassis Power Supply" | NXA-PAC-2KW-PI | N/A | POG2415JA1F | DOWN
OSC-3408-2 | "Fan 1" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
OSC-3408-2 | "Fan 2" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
OSC-3408-2 | "Fan 3" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
OSC-3408-2 | Ethernet1/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2126G3GY | UP
OSC-3408-2 | Ethernet1/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2022G09Y | UP
OSC-3408-2 | Ethernet1/3/1 | CISCO | QSFP-40G-SR4 | N/A | FIS184701UP | UP
OSC-3408-2 | Ethernet1/3/2 | CISCO | QSFP-40G-SR4 | N/A | FIS184701UP | UP
OSC-3408-2 | Ethernet1/3/3 | CISCO | QSFP-40G-SR4 | N/A | FIS184701UP | UP
OSC-3408-2 | Ethernet1/3/4 | CISCO | QSFP-40G-SR4 | N/A | FIS184701UP | ADMIN_DOWN
OSC-3408-2 | Ethernet1/9 | CISCO | QSFP-40G-SR4 | N/A | FIS184801XG | DOWN
OSC-3408-2 | Ethernet1/10 | CISCO | QSFP-40G-SR4 | N/A | FIS1747001V | ADMIN_DOWN
OSC-3408-2 | Ethernet2/1 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2209N0SK | DOWN
OSC-3408-2 | Ethernet2/2 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2209N0RD | DOWN
OSC-3408-2 | Ethernet2/3 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A05C | DOWN
OSC-3408-2 | Ethernet2/4 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FTF2512N9FK | UP
OSC-3408-2 | Ethernet3/1 | CISCO-INNOLIGHT | QSFP-100G-AOC7M | N/A | INL23520104-B | DOWN
OSC-3408-2 | Ethernet3/4 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A09H | DOWN
OSC-3408-2 | Ethernet3/6 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2316S1LT | ADMIN_DOWN
OSC-3408-2 | Ethernet3/9 | CISCO-DELTA | QSFP-100G-AOC15M | N/A | DTS2415A958-A | DOWN
OSC-3408-2 | Ethernet4/3/1 | CISCO-AVAGO | QSFP-40G-SR4 | N/A | AVP2113S0AD | DOWN
OSC-3408-2 | Ethernet4/3/2 | CISCO-AVAGO | QSFP-40G-SR4 | N/A | AVP2113S0AD | DOWN
OSC-3408-2 | Ethernet4/3/3 | CISCO-AVAGO | QSFP-40G-SR4 | N/A | AVP2113S0AD | DOWN
OSC-3408-2 | Ethernet4/3/4 | CISCO-AVAGO | QSFP-40G-SR4 | N/A | AVP2113S0AD | DOWN
OSC-3408-2 | Ethernet4/5 | CISCO-FINISAR | QSFP-100G-AOC5M | N/A | FIW2137062U-A | DOWN
OSC-3408-2 | Ethernet4/6 | CISCO-FINISAR | QSFP-100G-AOC5M | N/A | FIW2138035V-A | DOWN
OSC-3408-2 | Ethernet4/7 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2NB | UP
OSC-3408-2 | Ethernet4/8 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2212S0YT | UP
OSC-3408-2 | Ethernet4/9 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0DD | DOWN
OSC-3408-2 | Ethernet4/14 | CISCO-INNOLIGHT | QSFP-100G-AOC7M | N/A | INL26400EMU-A | DOWN
OSC-3408-2 | Ethernet4/15 | CISCO-INNOLIGHT | QSFP-100G-AOC7M | N/A | INL264111JW-B | DOWN
OSC-3408-2 | Ethernet4/16 | CISCO-INNOLIGHT | QSFP-100G-AOC7M | N/A | INL26400EL9-B | DOWN
BRC-8201 | HundredGigE0/0/0/0 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2126G1MJ | DOWN/DOWN
BRC-8201 | HundredGigE0/0/0/1 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351536 | UP/UP
BRC-8201 | HundredGigE0/0/0/2 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | FIW250302J8 | DOWN/DOWN
BRC-8201 | HundredGigE0/0/0/3 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2212S0Y2 | UP/UP
BRC-8201 | HundredGigE0/0/0/4 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2113G12G | UP/UP
BRC-8201 | HundredGigE0/0/0/5 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | FIW250302RB | UP/UP
BRC-8201 | HundredGigE0/0/0/6 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2125G1V6 | UP/UP
BRC-8201 | HundredGigE0/0/0/7 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | FIW250302HU | UP/UP
BRC-8201 | HundredGigE0/0/0/20 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2111G06F | UP/UP
BRC-8201 | HundredGigE0/0/0/21 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW2144023H-B | UP/UP
BRC-8201 | HundredGigE0/0/0/24 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC15M | V03 | DTS2415A946-B | DOWN/DOWN
BRC-8201 | HundredGigE0/0/0/25 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC15M | V03 | DTS2415A958-B | DOWN/DOWN
ARG-3408-1 | "Chassis" | "Nexus3000 C3408-S Chassis" | N3K-C3408-S | N/A | FOC23366AMW | DOWN
ARG-3408-1 | "Slot 1" | "Supervisor" | N3K-C3408-S | N/A | FOC23366AMW | DOWN
ARG-3408-1 | "LEM 1" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23335AF0 | DOWN
ARG-3408-1 | "LEM 2" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23311MLR | DOWN
ARG-3408-1 | "LEM 3" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23311MMV | DOWN
ARG-3408-1 | "LEM 4" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23311MM8 | DOWN
ARG-3408-1 | "LEM 6" | "16x100G Ethernet Module" | NXM-X16C | N/A | FOC23490QRN | DOWN
ARG-3408-1 | "Power Supply 1" | "Nexus3000 C3408-S Chassis Power Supply" | NXA-PAC-2KW-PI | N/A | POG2338JA1Q | DOWN
ARG-3408-1 | "Power Supply 2" | "Nexus3000 C3408-S Chassis Power Supply" | NXA-PAC-2KW-PI | N/A | POG2338JA0B | DOWN
ARG-3408-1 | "Fan 1" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
ARG-3408-1 | "Fan 2" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
ARG-3408-1 | "Fan 3" | "Nexus3000 C3408-S Chassis Fan Module" | NXA-FAN-300CFM-PI | N/A | N/A | DOWN
ARG-3408-1 | Ethernet1/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2203S1Z3 | ADMIN_DOWN
ARG-3408-1 | Ethernet1/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2124G1T5 | ADMIN_DOWN
ARG-3408-1 | Ethernet1/3 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2125G0V6 | ADMIN_DOWN
ARG-3408-1 | Ethernet1/4 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2132S22K | ADMIN_DOWN
ARG-3408-1 | Ethernet1/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2103G039 | ADMIN_DOWN
ARG-3408-1 | Ethernet1/6 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2225S1U9 | ADMIN_DOWN
ARG-3408-1 | Ethernet1/7 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G01H | ADMIN_DOWN
ARG-3408-1 | Ethernet1/8 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2125G1MS | ADMIN_DOWN
ARG-3408-1 | Ethernet1/9 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2124G3MB | ADMIN_DOWN
ARG-3408-1 | Ethernet1/10 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2022G0A3 | ADMIN_DOWN
ARG-3408-1 | Ethernet1/11 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401AR-B | UP
ARG-3408-1 | Ethernet1/12 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G0ZJ | UP
ARG-3408-1 | Ethernet1/13 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A08F | DOWN
ARG-3408-1 | Ethernet1/14 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2628A0QZ | DOWN
ARG-3408-1 | Ethernet2/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2051G0R6 | DOWN
ARG-3408-1 | Ethernet2/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2MU | UP
ARG-3408-1 | Ethernet2/3 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2252N2VK | DOWN
ARG-3408-1 | Ethernet2/4 | CISCO-FINISAR | QSFP-100G-AOC10M | N/A | FIW214401A7-A | DOWN
ARG-3408-1 | Ethernet2/5 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2218S0R8 | ADMIN_DOWN
ARG-3408-1 | Ethernet2/12 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2105G065 | UP
ARG-3408-1 | Ethernet2/14 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2104G06H | ADMIN_DOWN
ARG-3408-1 | Ethernet2/15 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2102G0DP | ADMIN_DOWN
ARG-3408-1 | Ethernet2/16 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2105G0UW | ADMIN_DOWN
ARG-3408-1 | Ethernet3/1 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2042G1TR | ADMIN_DOWN
ARG-3408-1 | Ethernet3/2 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2129G2CD | ADMIN_DOWN
ARG-3408-1 | Ethernet3/7 | CISCO-CISCO | QSFP-100G-FR-S | N/A | FBN2611A2RP | DOWN
ARG-3408-1 | Ethernet3/8 | CISCO-FINISAR | QSFP-100G-CWDM4-S | N/A | FNS22170M07 | DOWN
ARG-3408-1 | Ethernet3/9 | CISCO-FINISAR | QSFP-100G-CWDM4-S | N/A | FNS222007SJ | DOWN
ARG-3408-1 | Ethernet3/10 | CISCO-FINISAR | QSFP-100G-CWDM4-S | N/A | FNS22170BRC | DOWN
ARG-3408-1 | Ethernet3/11 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2248N3HW | ADMIN_DOWN
ARG-3408-1 | Ethernet3/12 | CISCO-FOIT | QSFP-40/100-SRBD | N/A | FOF2248N3ED | ADMIN_DOWN
ARG-3408-1 | Ethernet3/13 | CISCO-AVAGO | QSFP-100G-SR4-S | N/A | AVF2212S0P3 | ADMIN_DOWN
ARG-3408-1 | Ethernet4/3 | CISCO | QSFP-40G-SR4 | N/A | AVP1810S2SG | ADMIN_DOWN
BRC-55a1 | HundredGigE0/0/0/1 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2102G0CW | DOWN/DOWN
BRC-55a1 | HundredGigE0/0/0/2 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2015G0AS | DOWN/DOWN
BRC-55a1 | HundredGigE0/0/0/3 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | AVF2237S05Y | DOWN/DOWN
BRC-55a1 | HundredGigE0/0/0/4 | Cisco QSFP28 100G AOC Pluggable Optics Module | QSFP-100G-AOC10M | V02 | FIW2144018S-B | UP/UP
BRC-55a1 | HundredGigE0/0/0/5 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2134S0Z1 | DOWN/DOWN
BRC-55a1 | HundredGigE0/0/0/6 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V02 | AVF2212S0YZ | UP/UP
BRC-55a1 | HundredGigE0/0/0/7 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351406 | DOWN/DOWN
BRC-55a1 | HundredGigE0/0/0/8 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351378 | DOWN/DOWN
BRC-55a1 | HundredGigE0/0/0/9 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V03 | INL23351381 | UP/UP
BRC-55a1 | HundredGigE0/0/0/10 | Cisco QSFP28 100G SR4 Pluggable Optics Module | QSFP-100G-SR4-S | V01 | AVF2031G06E | UP/UP